## Copper SIMPULL
Theodore G. Bayer & Son, Inc
1167 North Washington St. | [8 empty] | Customer:
Wilkes Barre PA 18705-1856 | [8 empty] | DATE: | 2024-11-15
570-825-2699
Email completed form to: |  | bayer@valleywoodcraft.com
Chart Rev | 2024-10-28
Part No. | Conduit Size | Description |  | **Due to limited configurations with conduit and conductor sizes, all prices are subject to change pending final review by engineering.**
CW15-1 | 1-1/2" | 1-1/2" up to 1-4 cables
CW15-2 | 1-1/2" | 1-1/2" 5 or more |  | Letter | Cable Size | Cable OD“ in |  | Letter | Cable Size | Cable OD“ in
|  |  |  | A | #14 | 0.109 |  | K | 2/0. | 0.518
CW20-1 | 2" | 2" up to 1-4 cables |  | B | #12 | 0.128 |  | L | 3/0. | 0.568
CW20-2 | 2" | 2" 5 or more |  | C | #10 | 0.161 |  | M | 4/0. | 0.624
|  |  |  | D | #8 | 0.213 |  | N | 250 | 0.694
CW25-1 | 2-1/2" | 2-1/2" up to 1-4 cables |  | E | #6 | 0.249 |  | O | 300 | 0.77
CW25-2 | 2-1/2" | 2-1/2" 5 or more |  | F | #4 | 0.318 |  | P | 350 | 0.797
|  |  |  | G | #3 | 0.346 |  | Q | 400 | 0.842
CW30-1 | 3" | 3" - up to 1-4 cables |  | H | #2 | 0.378 |  | R | 500 | 0.926
CW30-2 | 3" | 3" - 5 or more |  | I | #1 | 0.435 |  | S | 600 | 1.024
|  |  |  | J | 1/0 | 0.474 |  | T | 750 | 1.126
CW35-1 | 3-1/2" | 3-1/2" up to 1-4 cables
CW35-2 | 3-1/2" | 3-1/2" 5 or more |  |  | Special Fire Alarm
|  |  |  | Letter | Cable Size | Cable OD“ in
CW40-1 | 4" | 4" - up to 1-4 cables |  | X | 14/2 | 0.236
CW40-2 | 4" | 4" - 5 or more |  | Z | 16/2 | 0.215
Part No. | Cable 1 | Cable 2 | Cable 3 | Cable 4 | Cable 5 | Cable 6 | Cable 7 | Cable 8 | Pull-Box Designation | Total | FLOOR | Comments | Approved
Cable Supports Order Form
COPPER THHN SIMPULL
**NON CANCELABLE & NON RETURNABLE ***
** NON CANCELABLE & NON RETURNABLE * *